## Traceability_10_Random
Feature_Level | Feature_Name | Source_Sheet | CHECK_CATEGORY_ID | CHECK_CATEGORY_NAME | ISSUE_NUMBER | CHECK_ITEM_ID | CHECK_ITEM_NAME | CHOICE_ID | CHOICE_VALUE_OPTION_NAME | ITEM_FEATURE_NAME | ANSWER_FEATURE_NAME
Category | microbiology | ISO_Check_category1 | 54 | Microbiology | 2
Category | iso_15189_clause_5_auditing | ISO_Check_category1 | 64 | ISO 15189 clause 5 auditing | 1
Category | pipette_calibration | ISO_Check_category2 | 22 | pipette calibration | 1
Item | item_cat67__iss3__item1937126__the_laboratory_complies_with_performing_internal_quality_control_based_on_workload_criteria_as_defined_in_the_established_sop | ISO_Check_category1 | 67 | Hematology | 3 | 1937126 | The laboratory complies with performing internal quality control based on workload criteria as defined in the established SOP |  |  | item_cat67__iss3__item1937126__the_laboratory_complies_with_performing_internal_quality_control_based_on_workload_criteria_as_defined_in_the_established_sop
Item | item_cat53__iss3__item2109599__the_laboratory_environment_is_free_of_unpleasant_odors_ensuring_an_appropriate_and_comfortable_atmosphere | ISO_Check_category4 | 53 | Accommodation and enviromental conditions | 3 | 2109599 | The laboratory environment is free of unpleasant odors, ensuring an appropriate and comfortable atmosphere |  |  | item_cat53__iss3__item2109599__the_laboratory_environment_is_free_of_unpleasant_odors_ensuring_an_appropriate_and_comfortable_atmosphere
Item | item_cat55__iss8__item1938259__forms_are_completed_correctly_and_fully_in_accordance_with_the_approved_instructions_and_procedures | ISO_Check_category1 | 55 | General concerns | 8 | 1938259 | Forms are completed correctly and fully in accordance with the approved instructions and procedures |  |  | item_cat55__iss8__item1938259__forms_are_completed_correctly_and_fully_in_accordance_with_the_approved_instructions_and_procedures
Item | item_cat59__iss1__item5169980__personnel_records_include_position_descriptions_clause_6_2_5_b | ISO_Check_category1 | 59 | ISO 15189 clause 6 auditing | 1 | 5169980 | Personnel records include position descriptions (clause 6.2.5.b) |  |  | item_cat59__iss1__item5169980__personnel_records_include_position_descriptions_clause_6_2_5_b
Item | item_cat55__iss8__item1937639__verification_is_performed_to_ensure_that_staff_have_reviewed_the_sops_and_signed_the_designated_acknowledgment_form_according_to_the_approved_procedure | ISO_Check_category1 | 55 | General concerns | 8 | 1937639 | Verification is performed to ensure that staff have reviewed the SOPs and signed the designated acknowledgment form according to the approved procedure |  |  | item_cat55__iss8__item1937639__verification_is_performed_to_ensure_that_staff_have_reviewed_the_sops_and_signed_the_designated_acknowledgment_form_according_to_the_approved_procedure
Answer | item_cat61__iss2__item5192896__when_a_compromised_clinically_critical_or_irreplaceable_sample_is_accepted_after_consideration_of_the_risk_to_patient_safety_the_final_report_shall_indicate_the_nature_of_the_problem_and_where_applicable_advising_caution_when_interpreting_results_that_can_be_affected__yes | ISO_Check_category1 | 61 | ISO 15189 clause 7 auditing | 2 | 5192896 | When a compromised clinically critical or irreplaceable sample is accepted, after consideration of the risk to patient safety, the final report shall indicate the nature of the problem and where applicable, advising caution when interpreting results that can be affected | 13 | Yes | item_cat61__iss2__item5192896__when_a_compromised_clinically_critical_or_irreplaceable_sample_is_accepted_after_consideration_of_the_risk_to_patient_safety_the_final_report_shall_indicate_the_nature_of_the_problem_and_where_applicable_advising_caution_when_interpreting_results_that_can_be_affected | item_cat61__iss2__item5192896__when_a_compromised_clinically_critical_or_irreplaceable_sample_is_accepted_after_consideration_of_the_risk_to_patient_safety_the_final_report_shall_indicate_the_nature_of_the_problem_and_where_applicable_advising_caution_when_interpreting_results_that_can_be_affected__yes
Answer | item_cat12__iss1__item1937052__the_pipette_calibration_certificate_shall_be_retained_in_its_designated_equipment_file_ensuring_its_availability_for_audit_review_and_verifying_that_the_calibration_is_current_and_valid__yes | ISO_Check_category1 | 12 | Other equipments maintenance and manulas | 1 | 1937052 | The pipette calibration certificate shall be retained in its designated equipment file, ensuring its availability for audit review and verifying that the calibration is current and valid | 13 | Yes | item_cat12__iss1__item1937052__the_pipette_calibration_certificate_shall_be_retained_in_its_designated_equipment_file_ensuring_its_availability_for_audit_review_and_verifying_that_the_calibration_is_current_and_valid | item_cat12__iss1__item1937052__the_pipette_calibration_certificate_shall_be_retained_in_its_designated_equipment_file_ensuring_its_availability_for_audit_review_and_verifying_that_the_calibration_is_current_and_valid__yes

## Derivation_Notes
Feature_Level | Feature_Name_Source_Column | Traceability_Keys | Notes
Category | CATEGORY_CODE | CHECK_CATEGORY_ID (+ CHECK_CATEGORY_NAME), ISSUE_NUMBER (if present) | CATEGORY_CODE is the stable category feature code used in the model.
Item | ITEM_FEATURE_NAME | CHECK_ITEM_ID (+ CHECK_ITEM_NAME) and CHECK_CATEGORY_ID | ITEM_FEATURE_NAME is the UVL item feature name; repeated result rows do not affect traceability.
Answer | ANSWER_FEATURE_NAME | CHOICE_ID (+ CHOICE_VALUE_OPTION_NAME) and CHECK_ITEM_ID | ANSWER_FEATURE_NAME maps back to choice identifiers used in the source data.
Reproducibility |  |  | Random sampling is reproducible using a fixed seed = 2025. Change seed to generate a different sample.